## Worksheet
Acceptance criteria |  | Results
Linearity | Correlation coefficient R2 ≥ 0.98 | 0.9988
| Slope | 50.831
| Intercept | 32.504
| Regression equation | 50.831x + 32.504
| p-value lower than 0.05 | 0.025
Accuracy | Mean% recovery | 99.7%
| (95% to 105%) | 0.36%
RSD ≤ 2%
Precision | Repeatability (RSD% ≤ 5%) | 0.15%
| Intermediate precision (RSD% ≤ 10%) | 0.31%
Sensitivity | LOD | 0.667 µg/mL
| LOQ | 2.022 µg/mL
Forced degradation | Recovery% in 1 M HCl | 87.91% ± 0.39
| Recovery% in 1 M NaOH | 92.17%± 0.11
| Recovery% in 10% H2O2 | 90.47% ± 0.25
Robustness | RSD% at a flow rate of 1.2 mL/min | 0.31%
| RSD% at a flow rate of 0.8 mL/min | 0.29%
| RSD% at pH 2.8 | 0.16%
| RSD% at pH 3.2 | 0.35%