## Worksheet
Method | Advantages | Drawbacks
Bioassay | Easy to perform, the utilization of costly instruments is not necessary. The total antifungal activity of a drug can be determined. | Unable to quantify the individual concentrations of the drug’s constituents and metabolites. Necessitates a substantial time for analysis. Poor solubility of some triazole agents in water and limited diffusion in the aqueous environment.
Spectrophotometry | Methods are simple to implement and take less time, provide greater selectivity than the bioassay technique. | It may be necessary to perform derivatization procedures prior to the detection process. Endogenous compounds may interfere with the analysis results. Not applicable for simultaneous analysis.
Gas chromatography | Short analysis time, can be used for simultaneous analysis. | The detectors are usually destructive. Need derivatization for improving the volatility. Limited choice because the methods for measuring antifungal agents have not been extensively developed.
High-performance liquid chromatography | Sensitivity is higher than in spectrophotometry. Possible to do simultaneous analysis. The detectors used are usually not destructive; therefore, the analytes may be collected for further analysis. Wide choice of detectors. | Substantial sample preparation is required, susceptibility to matrix effects. It is generally necessary to employ extended runtimes to achieve a selected analysis approach.
Ultra-high-performance liquid chromatography | Improved chromatographic efficiency compared to the HPLC method. Shorter analysis time. Less susceptible to matrix effect. | Smaller particles in the column necessitate more laborious sample processing to prevent blockage. High cost of the instrument