## Worksheet
Parameter | Instrumental Analysis
Chemical Composition | Mass Spectrometry, EDX, NMR
Size, and Size Distribution | Electron Microscopy (AFM, cryogenic-TEM, SEM) Chromatography (Field Flow Fractionation FFF, Hydrodynamic Chromatography, size exclusion), Centrifugation (ultracentrifugation), Mass Spectrometry (SPMS, ICP-MS for metal), XRD (crystal size)
Agglomeration/aggregation | Dynamic Light Scattering (DLS) is suitable for materials >100 nm in size, but TEM can show the allomeric results of aggregates.
Mass Concentration | Analytical Electron Microscopy, AEM (Combination of spectroscopy and electron microscopy for compositional analysis), CFM, gravimetry method, centrifugal sedimentation
Particle Size | Particle counters
Shape | Scanning electron microscopy (SEM)
Surface Morfology | Atomic force microscopy (AFM)
AEM, CFM, UV/Visible spectrometry, XPS, IR, Raman
Surface Weight | Chromatography (e.g. : Capillary Electrophoresis), Zeta Potential
Specific Surface Area | Brunauer-Emmett-Teller (BET)
Stability | Nanosystems must be monitored periodically over a period of time to ensure that the particles do not change into a state of aggregation/agglomeration. For example, the stability of particles in the dispersed state can be assessed every 2–3 years using UV-Vis spectroscopy to ensure dispersion stability.