## Worksheet
Parameter | Chromatographic conditions
Instrument | Shimadzu HT (Shimadzu, Japan) LC system equipped with degasser (DGU-14A), binary pump (LC-20ADXR) along with auto-sampler (SIL-20ACXR)
Column | DiscoveryC18, 50 × 2.1 mm, 5 μm
Mobile phase | Gradient mode (eluent A (acetonitrile – water – formic acid, 5 : 95 : 0.1 v/v), eluent B (acetonitrile – formic acid, 100 : 0.1 v/v)). The initial content of the eluent B is 0%, which increases linearly by 1.0 min to 100% and to 1.01 min returns to the initial 0%
Flow rate | 0.4 mL/min
Runtime | 2 min
Column temperature | 30 °C
Volume of injection loop | 5 μl