## Worksheet
Sl No | Analytical Method | Method Condition/Mobile Phase/ Stationary Phase/Retention Time (Approximately) | Wavelength/Detector | Linearity Range | Reference
1 | HPLC | Methanol and 0.02% of orthophosphoric acid in the ratio of 70:30 (%, v/v); C18; 10 min | 275 nm | 1–100 µg/mL | Bhinge et al. 2008
2 | UV spectroscopy | Phosphate buffer saline of pH 7.4 as diluent | 273 nm | 0–20 µg/mL | Shah et al. 2008
3 | HPLC | Acetonitrile, methanol and water in the ratio of 60:28:12 (%, v/v) and pH of 7.0 adjusted with either glacial acetic acid and sodium hydroxide; C18; 6 min | 274 nm | 0.0138–0.370 µg/mL | Sherikar et al. 2011
4 | HPLC | Acetonitrile, methanol and phosphate buffer of pH 7.0 in the ratio 30:17:53 (%, v/v); C18; 13.8 min | 280 nm | 2–10 μg/​mL | Kumar et al. 2008
5 | GC | Injector temperature: 260 °C; Detector temperature: 300 °C; N2 flow rate: 5.0 mL/min; Make up flow: 30 mL/min; Split ratio: 10:1. Caffeine was used as internal standard (IS) | FID Detector (30 m X 0.53 mm; 1.5 µm) | 10–110 μg/mL | Zeng-ri and Fu-jun 2010
6 | Spectrophotometric method | Aceclofenac was reacted with 0.25% w/v solution of p-dimethyl-aminocinnamaldehyde (PDAC) in 1% v/v perchloric acid solution at 75 °C for 20 min and then diluted with methanol. | 665.5 nm | 20–100 μg/mL | Zawilla et al. 2002
| HPLC | Methanol, acetonitrile and acetic acid (2% solution in deionized water) in the ratio of 100:150:250 (%, v/v/v) containing 0.3 ml triethylamine; C18; 8.8 min | 275 nm | 20–70 μg/mL
| Densitometric method | Chloroform, ethyl acetate and acetic acid in the ratio of 75:25:5, (% v/v/v). Calibration curve is obtained from area under the peak against the concentrations. | 254 nm and 275 nm | 1–10 μg/spot
7 | Spectrophotometric method | Aceclofenac was reacted with p-dimethylamino-cinnamaldehyde and 1% perchloric acid at 90 °C for 10 min and then diluted with methanol. | 658 nm | 1–200 μg/mL | Bose et al. 2010
|  | Aceclofenac was reacted with 3-Methyl-2-benzothiazolinone hydrazine hydrochloride and 0.1% ferric chloride for 20 min and then diluted with water. | 592 nm | 1–100 μg/mL
8 | HPLC | Sodium phosphate buffer pH 5.0 and Acetonitrile in the ratio of 60:40 (%, v/v); C18; IS: Etoricoxib (ETC); 8 min | 275 nm. | 25–125 μg/mL | Paul et al. 2011
9 | HPLC | Mixed phosphate buffer pH 6.8 and acetonitrile in the ratio of 50:50 (%, v/v); C18; 8.5 min | 278 nm | 2–10 µg/mL | Ravisankar et al. 2013
10 | UV spectrophotometry | Diluent: Methanol | 276 nm | 0–120 μg/mL | Valambhia 2013
11 | Third-derivative spectrophotometry (D3) | Calibration curve was constructed from peak amplitude (height) against corresponding concentration for the linearity range of Aceclofenac solution in methanol. | 283 nm | 4–24 μg/mL | El-Saharty et al. 2002
| Ratio-spectra first-derivative (RSD1) spectrophotometry | The absorption spectra of Aceclofenac in the linearity range were divided by that of diclofenac sodium (25 mg/mL), and the ratio spectra were differentiated with respect to wavelength. Calibration curve was obtained by plotting the first-derivative values at 252 nm against the corresponding concentration. | 252 nm | 4–32 μg/mL
| Spectrodensitometric method of Thin-layer chromatogram | Chloroform, methanol and ammonia in the ratio of 48:11.5:0.5 (%, v/v/v) were used for TLC development. Calibration curve was constructed by plotting the area under the peak against the corresponding concentrations to develop the regression equation. | 274 nm | 2–10 µg/spot
12 | Third derivative spectrophotometry | UV-spectrum of Aceclofenac solution was measured against absolute ethanol as a blank. The peak height at 242 nm was measured. The calibration curve was constructed with the measured peak height against the corresponding concentration. | 242 nm | 5–40 μg/mL | Hasan et al. 2003
| Ratio-spectra first-derivative (RSD1) spectrophotometry | Absorption spectra of Aceclofenac solutions were divided by the absorption spectrum of 5 mg/ml of the degradate. The ratio spectra thus obtained were smoothed and differentiated to determine first derivatives of the ratio spectra. The calibration curve was constructed between the measured first derivative values at 245 nm against the corresponding concentration. | 245 nm | 10–40 μg/mL
| pH-induced difference (ΔA) spectrophotometry | The difference in absorbance was observed between 0.1 N sodium hydroxide and 0.1 N hydrochloric acid solution of Aceclofenac. Calibration curve was constructed by plotting the difference in absorbance against respective concentration. | 273 nm | 15–50 μg/mL
| Quantitative densitometric evaluation of thin layer chromatogram | Tetrahydrofuran and methanol (90:10, % v/v) was used for TLC development. Calibration curve was constructed by plotting the area under the peak against the corresponding concentrations. | 275 nm | 50–200 μg/mL
| HPLC | Methanol and water in the ratio of 60:40 (%, v/v); C18; 8 min | 230 nm | 1–50 μg/mL
13 | HPLC | 0.01 M ammonium acetate buffer with 2 ml (%, v/v) triethylamine and acetonitrile in the ratio of 68:32 (%, v/v) and pH was adjusted to 6.5 with glacial acetic acid; C8; 6.5 min | 270 nm | 8–16 µg/mL | Chatrabhuji et al. 2015
14 | HPLC | 0.07% of orthophosphoric acid and acetonitrile in the ratio of 68:32 (%, v/v) at pH 7.0 ± 0.05; C18; 6 min | 275 nm | 160–240 µg/mL | Hossain et al. 2013
15 | Microwave assisted spectrophotometry | Aceclofenac was reacted with ammonium molybdate in presence of sulfuric acid under microwave irradiation for 5 min. | 740 nm | 50–250 µg/mL | Mumtaz et al. 2013